**General Assignment Classroom Project Proposal Form: Classroom Modernization & Minor Remodeling Projects**

Department Name Physics Department Contact Name & Phone # Steve Narf - 608/262-3898 Campus Mail Address srnarf@wisc.edu

## Area to be Remodeled: Room: 2241

**Building: Chamberlin Hall (#55)**

Please check all areas that apply or describe in the space provided.

# Remodeling Requirements:

 X Ceiling: ***– At least one electric projection screen will need to be inserted above the ceiling***

 X Electrical

 Floor Coverings

 X Furniture ***– Caster chairs are showing their age and may need to be replaced – (Optional)***

 Heating and Cooling

 X Lighting (general and dimming)

 X Walls: ***– Whiteboards will need to be replaced – With a “vertically sliding whiteboard system”***

 Windows & Shades

 X Other-describe:  ***New whiteboards are to be magnetic for lecture demonstrations.***

# Instructional Technology Requirements:

 ? Audio system – Program and/or Microphone

 X Automated control system for IT equipment

 X Electric projection screen

 Manual projection screen

 X Video/Data projection system (video projector, DVD/CD player, document camera, etc.)

 X Other-describe: ***Update the existing analog Creston video system to digital HD-HDMI and convert all analog video source to digital. Replace analog ceiling cameras with digital ones with remote pan-tilt-zoom controls. Add lecture capture and/or digital recording system. Maintain full audio/video bridge with control room 2237. (for overflow lectures, special lectures, colloquia, & distant education). Add new motorized projector screens.***

## Return completed form to your Department Chairperson

**Department Chairperson and Deans Approval Required:**

Department Chairperson:

Date:

Dean:

Date: Priority Number:

**DEANS RETURN THIS FORM TO THE SPACE MANAGEMENT OFFICE – SUITE 807 WARF**

Note: All maintenance and repair items should be reported to the Space Management Office at 262-4414.

Additional forms can be found at: [**www.fpm.wisc.edu/smo/Forms.htm**](http://www.fpm.wisc.edu/smo/Forms.htm)

g:cpm/remodel/combocmremfrm

**General Assignment Classroom Project Proposal Form: Classroom Modernization & Minor Remodeling Projects**

Department Name Physics Department Contact Name & Phone # Steve Narf - 608/262-3898 Campus Mail Address srnarf@wisc.edu

## Area to be Remodeled: Room: 2223

**Building: Chamberlin Hall (#55)**

Please check all areas that apply or describe in the space provided.

# Remodeling Requirements:

 X Ceiling: ***– 2 electric projection screen will need to be inserted above the ceiling***

 X Electrical

 Floor Coverings

 X Furniture ***– Caster chairs are showing their age and may need to be replaced – (Optional)***

 Heating and Cooling

 X Lighting (general and dimming)

 X Walls: ***– Whiteboards will need to be replaced – With a “vertically sliding whiteboard system”***

 Windows & Shades

 X Other-describe:  ***New whiteboards are to be magnetic for lecture demonstrations use.***

# Instructional Technology Requirements:

 X Audio system – Program and/or Microphone

 X Automated control system for IT equipment

 X Electric projection screen

 Manual projection screen

 X Video/Data projection system (video projector, DVD/CD player, document camera, etc.)

 X Other-describe: ***Update the existing analog audio/video system to digital Crestron HD-HDMI system and convert all analog video source to digital. Add digital ceiling camera. Replace audio system. Add lecture capture and/or digital recording system with a full audio/video bridge with control room 2237. (for overflow lectures, special lectures, colloquia, & distant education)***

## Return completed form to your Department Chairperson

**Department Chairperson and Deans Approval Required:**

Department Chairperson:

Date:

Dean:

Date: Priority Number:

**DEANS RETURN THIS FORM TO THE SPACE MANAGEMENT OFFICE – SUITE 807 WARF**

Note: All maintenance and repair items should be reported to the Space Management Office at 262-4414.

Additional forms can be found at: [**www.fpm.wisc.edu/smo/Forms.htm**](http://www.fpm.wisc.edu/smo/Forms.htm)

g:cpm/remodel/combocmremfrm

**General Assignment Classroom Project Proposal Form: Classroom Modernization & Minor Remodeling Projects**

Department Name Physics Department Contact Name & Phone # Steve Narf - 608/262-3898 Campus Mail Address srnarf@wisc.edu

## Area to be Remodeled: Room: 2237

**Building: Chamberlin Hall (#55)**

Please check all areas that apply or describe in the space provided.

# Remodeling Requirements:

 Ceiling:

 X Electrical ***– Minor***

 Floor Coverings

 Furniture

 Heating and Cooling

 Lighting (general and dimming)

 Walls:

 Windows & Shades

 Other-describe:

# Instructional Technology Requirements:

 ? Audio system – Program and/or Microphone

 X Automated control system for IT equipment

 Electric projection screen

 Manual projection screen

 Video/Data projection system (video projector, DVD/CD player, document camera, etc.)

 X Other-describe: ***Update the existing control room form analog Creston to digital HD-HDMI and convert all analog video source to digital. Add lecture capture and digital recording system. Maintain full audio/video bridge with adjacent rooms 2223, 2241, & 2103, with full room override controls and full camera controls.***  ***(for overflow lectures, special lectures, colloquia, & distant education) Add a Multiview system with a DVR.***

## Return completed form to your Department Chairperson

**Department Chairperson and Deans Approval Required:**

Department Chairperson:

Date:

Dean:

Date: Priority Number:

**DEANS RETURN THIS FORM TO THE SPACE MANAGEMENT OFFICE – SUITE 807 WARF**

Note: All maintenance and repair items should be reported to the Space Management Office at 262-4414.

Additional forms can be found at: [**www.fpm.wisc.edu/smo/Forms.htm**](http://www.fpm.wisc.edu/smo/Forms.htm)

g:cpm/remodel/combocmremfrm

**General Assignment Classroom Project Proposal Form: Classroom Modernization & Minor Remodeling Projects**

Department Name Physics Department Contact Name & Phone # Steve Narf - 608/262-3898 Campus Mail Address srnarf@wisc.edu

## Area to be Remodeled: Room: 2103

**Building: Chamberlin Hall (#55)**

Please check all areas that apply or describe in the space provided.

# Remodeling Requirements:

 Ceiling

 Electrical

 Floor Coverings

 Furniture

 Heating and Cooling

 Lighting (general and dimming)

 X Walls: ***– Whiteboards will need to be replaced – With a “horizontal sliding whiteboard system”.***

 Windows & Shades

 X Other-describe:  ***New whiteboards are to be magnetic for lecture demonstrations. Replace the upper projection surface (Walltalker) with a better surface for projection.***

# Instructional Technology Requirements:

 Audio system – Program and/or Microphone

 Automated control system for IT equipment

 Electric projection screen

 Manual projection screen

 Video/Data projection system (video projector, DVD/CD player, document camera, etc.)

 X Other-describe: ***Update the existing Creston digital HD-HDMI system to match with the other 3 rooms (2223, 2241, & 2237). Convert all analog video source to digital. Replace analog ceiling cameras with digital ones. Add lecture capture and/or digital recording system. Maintain full audio/video bridge with control room 2237. (for overflow lectures, special lectures, colloquia, & distant education)***

## Return completed form to your Department Chairperson

**Department Chairperson and Deans Approval Required:**

Department Chairperson:

Date:

Dean:

Date: Priority Number:

**DEANS RETURN THIS FORM TO THE SPACE MANAGEMENT OFFICE – SUITE 807 WARF**

Note: All maintenance and repair items should be reported to the Space Management Office at 262-4414.

Additional forms can be found at: [**www.fpm.wisc.edu/smo/Forms.htm**](http://www.fpm.wisc.edu/smo/Forms.htm)

g:cpm/remodel/combocmremfrm